## Slide 1: Dynamic Enhanced Bayesian Network for the risk assessment of coupled High Temperature Electrolysis Facilities and Nuclear Power Plants
Stefano Marchetti, Dario Valcamonico, Francesco Di Maio, Enrico Zio

## Slide 2: Context of the research
Large scale hydrogen production with High Temperature Electrolysis Facilities (HTEF) coupled with Nuclear Power Plants (NPP)
The licensing of the integrated plants requires assessing the increased risk to the NPP due to the HTEF

## Slide 3: Problem statement
No uncertainty quantification
No imprecision
No Bayesian update as new evidence becomes available
No tool to perform inference
Current approach
Limitations

## Slide 4: Proposed solution: Enhanced Imprecise Bayesian Network

## Slide 5: Proposed solution: Enhanced Imprecise Bayesian Network
Added values
Uncertainty quantification
Imprecise CPTs
Inference (forward and backward)
Bayesian update
Issues
Time-dependent variables discretization (too many states!)
LOCA
LOCA | P(LOCA)
… | 
LOCA | P(LOCA)
… | 

## Slide 6: Proposed solution: Dynamic Enhanced Imprecise Bayesian Network
Inference on temporal nodes (e.g., failure times, physical quantities…)
Time = t1
Time = t2
Temporal
link
LOCA
LOCA | P(LOCA)
LOCA | P(LOCA)
Only two states
Added values
Uncertainty quantification
Imprecise CPTs
Inference (forward and backward)
Bayesian update

## Slide 7: Enhanced Bayesian Networks for the risk assessment and management of Oil and Gas plants

## Slide 8: Context of the research
Risk assessment in O&G facilities by Bayesian Network (BN) Modeling
Mitigative safety barriers
Preventive safety barriers

## Slide 9: Problem statement
We want to perform backward inference to identify the optimal maintenance schedule and/or design improvements

## Slide 10: Problem statement
We want to perform backward inference to identify the optimal maintenance schedule and/or design improvements
However, the severity assessment and the risk aggregation cannot be included into the BN
Risk aggregation
Severity assessment
However, the elaboration of the KPIs cannot be included into the BN

## Slide 11: Proposed solution: Enhanced Bayesian Network
Forward and backward inference on the risk and on the KPIs